Data Export: Structure and Usage Notes

Overview

This contains two types of stimulation data from the same animal: paired stimulation (two electrodes stimulated together, with a defined delay between them) and single-electrode stimulation (each electrode stimulated individually). Both are stored in one .mat file, along with an ExportMetadata variable indicating the technical settings used to generate the data.

Paired data structure

The Paired variable contains one entry for each electrode pair tested (referred to as a "Set", e.g., Set 1 might correspond to electrodes 8 and 4). Each entry includes:

- The identity of the two electrodes forming the pair

- One sub-entry per current amplitude tested (in microamps, µA)

- One sub-entry per inter-stimulus interval (ISI), in ms, the timing gap between the two electrodes' pulses. 0 ms ISI corresponds to simultaneous stimulation, while value>0 ms indicate sequential stimulation, with the second electrode firing that many ms after the first.

- One sub-entry per recording channel that showed a significant response under that condition

At the innermost level, each channel entry contains two aligned pieces of information per trial: a baseline-corrected spike count and the exact timing of each spike (in ms relative to the stimulation trigger; negative values mean before stimulation onset). These two are trial-matched (the Nth count and the Nth spike-time list correspond to the same trial).

Single-electrode data structure

The Single variable follows a parallel structure, organized by the same Set numbers as the Paired data, with an additional level distinguishing which of the pair's two electrodes was stimulated alone.

Filtering already applied

- Only responding channels are included.

- The burst or noisy trials have already been excluded.

Metadata

ExportMetadata documents the exact parameters used to generate this export:

- Animal identifier

- The time window for the spike-count [2,40]

- The baseline window [-50, -10]

- Sampling rate

Plotting scripts

Requires pasting the path to the exported .mat file

- DataPlot_ISI_Curve_v1.m: ISI tuning-curve script. Plots Spike Count vs. ISI.

- DataPlot_RasterPSTH_v1.m: Raster and PSTH script.

- DataPlot_ISI_Linearity_v1.m: Predicted (from single electrode stimulation) vs. Actual.